|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Item | Name | Description | Suggested type | Amount |
| 1 | MINI2P system |  | Custom | 1 |
| 2 | Display |  | Dell | 1~2 |
| 3 | Desk |  | NA | 1 |
| 4 | Tracking camera |  | acA2040-90umNIR, Basler | 1 |
| 5 | Lowpass filter |  |  | 1 |
| 6 | NIR LED |  | LIU850A, Thorlabs | 8 |
| 7 | Experiment box |  | Custom | >1 |