|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Item | Name | Description | Suggested version, company | Amount |
| 1 | Matlab |  | 2020b or newer, [MathWorks](https://se.mathworks.com/campaigns/products/trials.html?ef_id=CjwKCAjwxo6IBhBKEiwAXSYBs4tVsGXmquQn3lqc1orIrMecENFTzLyKo_hlo-LHW2IUjgM6hma6choCcP0QAvD_BwE:G:s&s_kwcid=AL!8664!3!252706751448!e!!g!!matlab%20download&s_eid=ppc_10753762282&q=matlab%20download&gclid=CjwKCAjwxo6IBhBKEiwAXSYBs4tVsGXmquQn3lqc1orIrMecENFTzLyKo_hlo-LHW2IUjgM6hma6choCcP0QAvD_BwE) | 1 |
| 2 | Labview |  | 2020 or newer, [NI](https://www.ni.com/en-no/support/downloads/software-products/download.labview.html#369643) | 1 |
| 3 | ScanImage | Control MINI2P. Please confirm with the company the version that supports the Mirrorcle MEMS scanner. | 2020 basic, [VIDRIO](https://vidriotechnologies.com/scanimage/) | 1 |
| 4 | AnimalTracker |  | MINI2P\_toolbox | 1~2 |
| 5 | Pylon |  | 6.2.0 or newer, [Basler](https://www.baslerweb.com/en/sales-support/downloads/software-downloads/) | 1 |
| 6 | PMT2100 |  | 4.0 or newer, [Thorlabs](https://www.thorlabs.com/software_pages/ViewSoftwarePage.cfm?Code=PMT) | 8 |
| 7 | DeepLabCut |  | Newest, [Mathis lab](http://www.mackenziemathislab.org/deeplabcut) |  |
| 8 | Suite2P |  | Newest, [Pachitariu lab](https://suite2p.readthedocs.io/en/latest/) |  |